**Lab log**

**Date:** 8/20/2013

**Info:** --

**Conditions:** BSE, 17 kV, PC 70, 25 Pa, gain 2

**Goal:**

1. Taking pictures at 25 Pa, looking for equilibrium temperature.

**What I did:**

1. Look for EQ temperature, take pictures of basal facets there just for the fun

**Products:**

EQ temperature guessed to be at around -34 °C. A few sets of pictures taken of the basal surfaces.