**Lab log**

**Date:** 8/8/2013

**Info:** --

**Conditions:** BSE, 17 kV, PC 70, 100 Pa

**Goal:**

1. Taking pictures at 100 Pa, looking for equilibrium temperature. Trying to find a good prismatic facet.

**What I did:**

1. Find equilibrium temperature and try to take pictures of prismatic facets at it. Random temperature tempering.

**Products:**

I failed to find any “nice” hexagonal crystals. All pictures taken are on the edge of the platform in a mash of crystals, typically around -27 °C.