**Lab log**

**Date:** 8/21/2013

**Info:** --

**Conditions:** BSE, 17 kV, PC 70, 100 Pa, gain 3!

**Goal:**

1. Taking pictures at 100 Pa, trying to find a good prismatic facet and take pictures of it.

**What I did:**

1. Go to -40 °C and take pictures. On one of the crystals go gradually up to -30 °C to see the difference.

**Products:**

 The VP is not able to hold 25. All of the previous results that were supposedly at 25 are most likely at +- 50 Pa. That’s why I took pictures at 100 Pa.